Problem set 2 TFY4185 Måleteknikk

- What is the effective capacitance of the following arrangement?

- 0.5 Μf		b) 2 μF			c) 4.5 μF		d) 9 μF

- What is the effective capacitance of the following arrangement?

a) 0.5 μF		b) 2 μF			c) 4.5 μF		d) 9 μF

- The circuit in (a) below shows an arrangement that applies a sinusoidal voltage across a capacitor. Given the relationship between the voltage and the current in a capacitor, which of the following statements is correct?

a)	(b) represents the voltage VC and (c) represents the current IC.

b)	(b) represents the current IC and (c) represents the voltage VC.

- The current in a 25 mH inductor changes at a constant rate of 7 A/s. What voltage is induced across this coil?

a) 3.57 mV		b) 175 mV		c) 350 mV		d) 1.75 V

- Calculate the inductance of this arrangement.

a) 2mH		b) 20 mH		c) 90 mH		d) 120 mH

- Calculate the inductance of this arrangement.

a) 2mH		b) 20 mH		c) 90 mH		d) 120 mH

- The circuit in (a) below shows an arrangement that applies a step voltage across a combination of a resistor and an initially unexcited inductor. What quantity is shown plotted against time in the graph in (b)?

a) The inductor voltage VL		b) The current I

- Which one of the following statements is correct in relation to alternating waveforms?

a) In a capacitor, the voltage leads the current.

b) In an inductor, the voltage lags the current.

c) In a capacitor, the current leads the voltage.

d) In an inductor, the current leads the voltage.

- Calculate the reactance of an inductor of 15 mH at a frequency of 60 Hz.

a) 0.9 Ω		b) 2.7 Ω		c) 5.7 Ω		d) 6.3 Ω

- Calculate the reactance of a capacitor of 470 μF at an angular frequency of 150 rad/s

a) 14.2 Ω		b) 56.1 Ω		c) 89 Ω		d) 130 Ω

- The diagram below shows a phasor representation of the voltage V across a combination of a resistor and an inductor. Calculate the magnitude and phase of the voltage V.

a) The magnitude is 186 V and the phase angle is 36 degrees

b) The magnitude is 168 V and the phase angle is 54 degrees

c) The magnitude is 168 V and the phase angle is 36 degrees

d) The magnitude is 186 V and the phase angle is 54 degrees

- Determine the complex impedance of the following series arrangement at a frequency of 60 Hz.

a) 239 + j69 Ω		b) 239 + j135 Ω	c) 170 + j135 Ω	d) 170 + j69 Ω

- Which of the following combinations of components represents an impedance of 110 + j 314 Ω  at a frequency of 100 Hz?

a) A resistor of 100 Ω in series with a capacitor of 5 μH

b) An inductor of 50 mH in series with a capacitor of 5 μH

c) A resistor of 314 Ω in series with an inductor of 5 mH

d) A resistor of 110 Ω in series with an inductor of 500 mH

- If a sinusoidal voltage v = Vp sin ωt is applied across a capacitor, C, what is the average value of the power dissipated in the capacitor?

a) 0			b) CVp2			c) Vp2 / C		d) 2CVp2

- The voltage across a component is measured as 80 V r.m.s. and the current through it is 4 A r.m.s. If the current leads the voltage by 20° what is the apparent power in the component?

a) 109 VA		b) 116 VA			c) 301 VA		d) 320 VA

- The voltage across a component is measured as 80 V r.m.s. and the current through it is 4 A r.m.s. If the current leads the voltage by 20° what is the active power in the component?

a) 109 W		b) 116 W			c) 301 W		d) 320 W

- An amplifier has an output impedance Zo of 70 + j 35 Ω. What value of load impedance will permit maximum power transfer?

a) 70 Ω + j 35 Ω	b) 70 Ω - j 35 Ω	c) -70 Ω - j 35 Ω	d) 70 Ω + j 35 Ω

- Calculate the cut-off frequency fc of the following circuit.

a) 15.4 Hz		b) 15.4 rad/s			c) 96.7 Hz		d) 96.7 rad/s

- Which of the following statements is not correct?

a) Two octaves above 5 Hz is 20 Hz.

b) Three octaves below 64 Hz is 8 Hz.

c) Two decades below 10 MHz is 10 kHz.

d) Three decades above 470 Hz is 470 kHz.

- What are the characteristics of the following circuit?

a) A high-pass network 			b) A low-pass network

- What are the characteristics of the following circuit?

a) A high-pass network			b) A low-pass network

- Calculate the resonant frequency of the following arrangement.

a) 53 Hz		b) 128 Hz			c) 226 Hz		d) 1421 Hz

- The switch in the following circuit closes at t = 0. If the capacitor is initially discharged, calculate the voltage on the capacitor at t = 3 s.

a) 2.43 V		b) 12.6 V		c) 13.8 V		d) 14.2 V

- The switch in the following circuit closes at t = 0. If the inductor is initially de-energised, calculate the time at which the current in the coil reaches 150 mA.

a) 1.44 ms		b) 4.82 ms		c) 6.93 ms		d) 12.7 ms

- Derive an expression for the output voltage of the following circuit, for the period after t = 0.

a) v = 12 – 6e-t/0.2	b)  v = 6 – 6e-t/0.2	c)  v = 6 + 6e-t/0.2	d)  v = 12 – 12e-t/0.2